## Module Fluorescens.
APP_Fluorescence_Microscope_infinity
| Link to Github | [5 empty] | https://github.com/bionanoimaging/UC2-GIT/tree/v3/APPLICATIONS/APP_Fluorescence_Microscope_infinity
| Brief Description | [5 empty] | Incubator Microscope is using the simplest possible finite-corrected microscope scheme to image living samples in natural conditions.
# | Module | Part | Printable | Amount | Source | Price | 692.84
1 | ASSEMBLY_Baseplate |  |  |  |  | 2.18 | 26
|  | 10_Base_puzzle_IM | 0 | 1 |  | 0
|  | 10_Base_puzzle_v3 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/v3/CAD/RAW/STL/UC2_v3_10_Base_puzzle_v3.stl | 0.3
| 2.18 | Ballmagnets | 0 | 4 | https://www.magnetmax.de/Neodym-Kugelmagnete/Magnetkugel-Kugelmagnet-O-5-0-mm-Neodym-vernickelt-N40-haelt-400-g::158.html | 0.47
3 | ASSEMBLY_CUBE_AlliedVision_Alvium |  |  |  |  | 250.2
|  | ASSEMBLY_CUBE_Base |  | 1 |  | 0
| 250.1 | 20_Cube_insert_AlliedVision_Alvium_v3 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/v3/CAD/RAW/STL/UC2_v3_20_Cube_insert_AlliedVision_Alvium_v3_1.stl | 0.1
|  | 20_Cube_insert_AlliedVision_Alvium_adjustable_v3 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/v3/CAD/RAW/STL/UC2_v3_20_Cube_insert_AlliedVision_Alvium_adjustable_83.stl | 0.1
|  | Allied Vision Camera | 0 | 1 | https://www.alliedvision.com/en/digital-industrial-camera-solutions.html | 250
7 | ASSEMBLY_CUBE_Beamexpander |  |  |  |  | 9.9
|  | ASSEMBLY_CUBE_Base |  | 1 |  | 0 | 1
| 9.9 | 20_Cube_Insert_Beamexpander_astromedia_v3 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/v3/CAD/RAW/STL/UC2_v3_20_Cube_Insert_Beamexpander_v3_3.stl | 0.3
| Beamexpander collimates light from a laser into a uniform beam of 20 mm diameter. | 20_Beamexpander_Lens_Adapter_v3 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/v3/CAD/RAW/STL/UC2_v3_20_Beamexpander_Lens_Adapter_82.stl | 0
|  | iPhone Lens | 0 | 1 | https://www.ebay.com/c/7029261375 | 4.6 | 1
|  | Planoconvex Lens f'=26,5mm, 18 mm (551.OAL) | 0 | 1 | https://www.pgi-versand.de/?id=47&mode=artdet&artnr=551.OAL | 5
9 | ASSEMBLY_CUBE_Dichroic_Beamsplitter |  |  |  |  | 1
|  | ASSEMBLY_CUBE_Base |  | 1 |  | 0
| 1 | 20_Cube_Insert_Beamsplittercube_Base_25x35_v3 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/v3/CAD/RAW/STL/UC2_v3_20_Cube_Insert_Beamsplittercube_Base_25x35_v3_5.stl | 0.6
| The cube can hold an emission and excitation filter as well as a dichroic mirror. | 20_Cube_Insert_Beamsplittercube_Dichroicmirror_Retainplate_25_36_v3 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/v3/CAD/RAW/STL/UC2_v3_20_Cube_Insert_Beamsplittercube_Dichroicmirror_Retainplate_25_36_6.stl | 0
|  | 20_Cube_Insert_Beamsplittercube_Retainring_25mm_v3 | 1 | 2 | https://github.com/bionanoimaging/UC2-GIT/blob/v3/CAD/RAW/STL/UC2_v3_20_Cube_Insert_Beamsplittercube_Retainring_25mm_7.stl | 0 | 1
|  | Screws M3x12 | 0 | 2 | https://eshop.wuerth.de/Zylinderschraube-mit-Innensechskant-SHR-ZYL-ISO4762-88-IS25-A2K-M3X12/00843%20%2012.sku/de/DE/EUR/ | 0.2
|  | Fitting filters of choice |  | 3 |  | 0
14 | ASSEMBLY_CUBE_LED_Matrix |  |  |  |  | 14.7 | Nur in Zweikanalsystem möglich
|  | 30_IM_LED_holder_v3 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/v3/CAD/RAW/STL/UC2_v3_30_IM_LED_holder_v3_65.stl | 0.2
| 14.7 | LED Matrix 4x4 | 0 | 1 | https://www.ebay.de/itm/401601053552 | 2
| The 4x4 LED matrix serves as a light source for trasmission microscopy. | M2 screw + nut | 0 | 2 | https://www.amazon.de/Edelstahl-Sechskopf-Knopf-Schrauben-Unterlegscheiben-Sortiment-Aufbewahrung/dp/B073SS7D8J/ref=sr_1_fkmr0_1?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=zylinderkopfschrauben+set+galvanisiert&qid=1565007371&s=diy&sr=1-1-fkmr0 | 0.1
|  | ESP32 | 0 | 1 | https://www.amazon.de/AZDelivery-NodeMCU-Development-Nachfolgermodell-ESP8266/dp/B074RGW2VQ/ref=sr_1_3?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=esp32&qid=1565008313&s=gateway&sr=8-3 | 8 | 1
|  | Female-Female Jumper Wire | 0 | 3 | https://www.amazon.de/-/en/AZDelivery-Jumper-Arduino-Raspberry-Breadboard/dp/B07KYHBVR7/ref=pd_bxgy_3/259-4334118-3709357?_encoding=UTF8&pd_rd_i=B07KFMSW7H&pd_rd_r=81afa8b5-0542-49e3-9cba-8dae3b0a116f&pd_rd_w=nOtLQ&pd_rd_wg=YVuQX&pf_rd_p=334c2d1b-2e55-4bd9-b8d2-dcecf26eb7db&pf_rd_r=K64KK4P3QHQTPFHPYNN6&refRID=K64KK4P3QHQTPFHPYNN6&th=1 | 0.5
|  | USB-microUSB cable | 0 | 1 | https://www.amazon.de/dp/B0778FV6K4/ref=sr_1_2?dchild=1&fst=as%3Aoff&qid=1586361990&refinements=p_89%3AGritin&rnid=669059031&s=computers&sr=1-2 | 2.8
17 | ASSEMBLY_CUBE_Laser |  |  |  |  | 15.8
|  | ASSEMBLY_CUBE_Base |  | 1 |  | 0
| 15.8 | 20_Cube_Insert_Laser_Holder_fixed_v3 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/v3/CAD/RAW/STL/UC2_v3_20_Cube_Insert_Laser_Holder_fixed_v3_24.stl | 0.2
| The laser serves as a light source. It can be centered using four screws pushing from four sides of the cube. | 30_Laser_Clamp_OnOffSwitch_v3 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/v3/CAD/RAW/STL/UC2_v3_30_Laser_Clamp_OnOffSwitch_66.stl | 0
|  | Blue laser pointer, 445 nm | 0 | 1 | https://www.laserlands.net/11040037.html | 14.8 | 1
|  | Screws M3x18 | 0 | 4 | https://eshop.wuerth.de/Zylinderschraube-mit-Innensechskant-SHR-ZYL-ISO4762-88-IS25-A2K-M3X18/00843%20%2018.sku/de/DE/EUR/ | 0.2
|  | RasPi Camera lens | 0 | 1 |  | 0
|  | 30_raspi_lens_to_laser_v3 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/v3/CAD/RAW/STL/UC2_v3_30_raspi_lens_to_laser_70.stl | 0
22 | ASSEMBLY_CUBE_Lens_large |  |  |  |  | 0.3
|  | ASSEMBLY_CUBE_Base |  | 1 |  | 0
| 0.3 | 20_Insert_Large_Lens_holder_v3 | 1 | 1 | https://www.thingiverse.com/thing:4580156 | 0.3
| This module holds a single lens precisely on the ical axis of other modules. | Lens: diameter 42-50 mm | 0 | 1 |  | 0
24 | ASSEMBLY_CUBE_Mirror_45_Thorlabs |  |  |  |  | 48.9 | 1
|  | ASSEMBLY_CUBE_Base |  | 1 |  | 0
| 48.9 | 20_Cube_Insert_Mirror_Holder_Thorlabs_v3 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/v3/CAD/RAW/STL/UC2_v3_20_Cube_Insert_Mirror_Holder_Thorlabs_v3_30.stl | 0.2
| The mirror is mounted diagonally and flips the incomong light by 90°. | 1 inch Thorlabs mirror | 0 | 1 | https://www.thorlabs.com/thorproduct.cfm?partnumber=PF10-03-P01 | 48.7
25 | ASSEMBLY_CUBE_Mirror_Kinematic_45 |  |  |  |  | 51.31 | 1
|  | ASSEMBLY_CUBE_Base |  | 1 |  | 0
| 2.41 | 20_Cube_Insert_Kinematic_Mirrormount_45_base_part1_v3 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/v3/CAD/RAW/STL/UC2_v3_20_Cube_Insert_Kinematic_Mirrormount_45_base_part1_15.stl | 0.3
| The three-point kinematic mirror mount allows for careful alignment of the outcoming beam. | 20_Cube_Insert_Kinematic_Mirrormount_45_base_part2_v3 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/v3/CAD/RAW/STL/UC2_v3_20_Cube_Insert_Kinematic_Mirrormount_45_base_part2_16.stl | 0
|  | 20_Cube_Insert_Kinematic_Mirrormount_45_Plate_v3 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/v3/CAD/RAW/STL/UC2_v3_20_Cube_Insert_Kinematic_Mirrormount_45_Plate_18.stl | 0.1 | 1
|  | 30x30 mm² Mirror | 0 | 1 | https://www.amazon.de/Rayher-14548606-Spiegelmosaik-selbstklebend-SB-Btl/dp/B008KJ8438/ref=pd_bxgy_201_img_3/258-8761405-4543762?_encoding=UTF8&pd_rd_i=B008KJ8438&pd_rd_r=80fd534c-997b-4a19-b91a-9bf38dbf4ade&pd_rd_w=4DEXV&pd_rd_wg=7SLRE&pf_rd_p=98c98f04-e797-4e4b-a352-48f7266a41af&pf_rd_r=N95R9S45MNSYNQX2BAJE&psc=1&refRID=N95R9S45MNSYNQX2BAJE | 0.1
|  | 20_Cube_Insert_Kinematic_Mirrormount_45_Thorlabsadapter_v3 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/v3/CAD/RAW/STL/UC2_v3_20_Cube_Insert_Kinematic_Mirrormount_Thorlabsadapter_22.stl | 0.1
|  | 1 inch Thorlabs mirror | 0 | 1 | https://www.thorlabs.com/thorproduct.cfm?partnumber=PF10-03-P01 | 48.7
|  | Screws M3x12 | 0 | 3 | https://eshop.wuerth.de/Zylinderschraube-mit-Innensechskant-SHR-ZYL-ISO4762-88-IS25-A2K-M3X12/00843%20%2012.sku/de/DE/EUR/ | 0.2
|  | Ballmagnets | 0 | 3 | https://www.magnetmax.de/Neodym-Kugelmagnete/Magnetkugel-Kugelmagnet-O-5-0-mm-Neodym-vernickelt-N40-haelt-400-g::158.html | 0.47
32 | ASSEMBLY_CUBE_Z-stage_objective |  |  |  |  | 18.5
|  | ASSEMBLY_CUBE_Base |  | 1 |  | 0
| 18.5 | 20_focus_inlet_linearflexure_motorized_small_v3 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/v3/CAD/RAW/STL/UC2_v3_20_focus_inlet_linearflexure_mechanical_v3_43.stl | 0.3
| The linearflexure mechanism of the Z-stage is used for precise focussing of the microscope objective. Motorized. | 20_focus_inlet_objective_mount_v8_v3 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/v3/CAD/RAW/STL/UC2_v3_20_focus_inlet_objective_mount_v8_45.stl | 0.6
|  | 30_Coupling_Screw_28BYJ_M3_v3 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/v3/CAD/RAW/STL/UC2_v3_30_Coupling_Screw_28BYJ_M3_53.stl | 0.1 | 1
|  | Microscope Objective 10x | 0 | 1 | https://de.aliexpress.com/item/32947647522.html?spm=a2g0x.search0104.3.54.6cf57a4c3DwsTO&transAbTest=ae803_3&ws_ab_test=searchweb0_0%2Csearchweb201602_6_10065_10130_10068_10890_10547_319_10546_317_10548_10545_10696_10084_453_454_10083_10618_10307_537_536_10902_10059_10884_10887_321_322_10103%2Csearchweb201603_6%2CppcSwitch_0&algo_pvid=06d972be-b176-4446-8665-56d9e61a8d2c&algo_expid=06d972be-b176-4446-8665-56d9e61a8d2c-7 | 15.4
|  | Screws M3x12 | 0 | 2 | https://eshop.wuerth.de/Zylinderschraube-mit-Innensechskant-SHR-ZYL-ISO4762-88-IS25-A2K-M3X12/00843%20%2012.sku/de/DE/EUR/ | 0.6
|  | Screws M3x8 | 0 | 4 | https://eshop.wuerth.de/Zylinderschraube-mit-Innensechskant-SHR-ZYL-ISO4762-88-IS25-A2K-M3X8/00843%20%208.sku/de/DE/EUR/ | 0.2
|  | M3x30 screw with nut (non-magnetic) | 0 | 1 | https://www.amazon.de/Edelstahl-Sechskopf-Knopf-Schrauben-Unterlegscheiben-Sortiment-Aufbewahrung/dp/B073SS7D8J/ref=sr_1_fkmr0_1?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=zylinderkopfschrauben+set+galvanisiert&qid=1565007371&s=diy&sr=1-1-fkmr0 | 0.1
33 | ASSEMBLY_CUBE_Z-stage_sample |  |  |  |  | 37.75
|  | ASSEMBLY_CUBE_Base |  | 2 |  | 0
| 37.75 | 20_Cube_Insert_Z-Focus_single_motorized_v3 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/v3/CAD/RAW/STL/UC2_v3_20_Cube_Insert_Z-Focus_single_motorized_v3_41.stl | 0.8
| The linearflexure mechanism of the Z-stage is used for precise focussing of the microscope objective. Mechanical only. | 30_Coupling_Screw_28BYJ_M3_v3 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/v3/CAD/RAW/STL/UC2_v3_30_Coupling_Screw_28BYJ_M3_53.stl | 0.1
|  | 20_Cube_Insert_Lens_holder_RMS_63x_v3 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/v3/CAD/RAW/STL/UC2_v3_20_Cube_Insert_Lens_holder_RMS_63x_29.stl | 0.3 | 1
|  | Microscope Objective 10x | 0 | 1 | https://de.aliexpress.com/item/32947647522.html?spm=a2g0x.search0104.3.54.6cf57a4c3DwsTO&transAbTest=ae803_3&ws_ab_test=searchweb0_0%2Csearchweb201602_6_10065_10130_10068_10890_10547_319_10546_317_10548_10545_10696_10084_453_454_10083_10618_10307_537_536_10902_10059_10884_10887_321_322_10103%2Csearchweb201603_6%2CppcSwitch_0&algo_pvid=06d972be-b176-4446-8665-56d9e61a8d2c&algo_expid=06d972be-b176-4446-8665-56d9e61a8d2c-7 | 15.4
|  | Screws M3x12 | 0 | 2 | https://eshop.wuerth.de/Zylinderschraube-mit-Innensechskant-SHR-ZYL-ISO4762-88-IS25-A2K-M3X12/00843%20%2012.sku/de/DE/EUR/ | 0.6
|  | M3x30 screw with nut (non-magnetic) | 0 | 1 | https://www.amazon.de/Edelstahl-Sechskopf-Knopf-Schrauben-Unterlegscheiben-Sortiment-Aufbewahrung/dp/B073SS7D8J/ref=sr_1_fkmr0_1?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=zylinderkopfschrauben+set+galvanisiert&qid=1565007371&s=diy&sr=1-1-fkmr0 | 0.1
|  | M3x30 screw with nut (non-magnetic) | 0 | 1 | https://www.amazon.de/Edelstahl-Sechskopf-Knopf-Schrauben-Unterlegscheiben-Sortiment-Aufbewahrung/dp/B073SS7D8J/ref=sr_1_fkmr0_1?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=zylinderkopfschrauben+set+galvanisiert&qid=1565007371&s=diy&sr=1-1-fkmr0 | 0.1
|  | ESP32 | 0 | 1 | https://www.amazon.de/AZDelivery-NodeMCU-Development-Nachfolgermodell-ESP8266/dp/B074RGW2VQ/ref=sr_1_3?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=esp32&qid=1565008313&s=gateway&sr=8-3 | 8
|  | 28-BYJ stepper motor with driver board | 0 | 1 | https://www.reichelt.de/entwicklerboards-schrittmotor-inkl-steuerung-uln2003-debo-moto1-p192146.html | 5.35
|  | Female-Female Jumper Wire | 0 | 6 | https://www.amazon.de/-/en/AZDelivery-Jumper-Arduino-Raspberry-Breadboard/dp/B07KYHBVR7/ref=pd_bxgy_3/259-4334118-3709357?_encoding=UTF8&pd_rd_i=B07KFMSW7H&pd_rd_r=81afa8b5-0542-49e3-9cba-8dae3b0a116f&pd_rd_w=nOtLQ&pd_rd_wg=YVuQX&pf_rd_p=334c2d1b-2e55-4bd9-b8d2-dcecf26eb7db&pf_rd_r=K64KK4P3QHQTPFHPYNN6&refRID=K64KK4P3QHQTPFHPYNN6&th=1 | 0.6
|  | USB-microUSB cable | 0 | 1 | https://www.amazon.de/dp/B0778FV6K4/ref=sr_1_2?dchild=1&fst=as%3Aoff&qid=1586361990&refinements=p_89%3AGritin&rnid=669059031&s=computers&sr=1-2 | 2.8
34 | Raspberry Pi + accesories |  |  |  |  | 187.8
|  | Raspberry Pi 4 B |  | 1 | https://www.reichelt.de/raspberry-pi-4-b-4x-1-5-ghz-2-gb-ram-wlan-bt-rasp-pi-4-b-2gb-p259919.html?PROVID=2788&gclid=Cj0KCQjwv8nqBRDGARIsAHfR9wDfSTnmSNyUOfEQFSt3AH1NsNxiCz0buRYcON7xUyqIMCWoCNkDb1AaAl7kEALw_wcB&&r=1 | 40
| 187.8 | Raspberry Pi 7" Display |  | 1 | https://www.reichelt.de/raspberry-pi-shield-display-lcd-touch-7-800x480-pixel-raspberry-pi-7td-p159859.html? | 64.5
|  | Raspberry Pi Case |  | 1 | https://www.reichelt.de/gehaeuse-fuer-raspberry-pi-4-7-touch-display-rpi4-case-lcd7bk-p268976.html?&trstct=pol_57 | 22.3
|  | Raspi 4 Power supply |  | 1 | https://www.reichelt.de/raspberry-pi-netzteil-5-1-v-3-0-a-usb-type-c-eu-stecker-s-rpi-ps-15w-bk-eu-p260010.html?&trstct=lsbght_sldr::259919 | 9.5 | 1
|  | SanDisk Ultra microSD card |  | 1 | https://www.amazon.de/SanDisk-SDSQUAR-064G-GN6MA-microSDXC-Speicherkarte-Adapter/dp/B073JYVKNX/ref=sr_1_2?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=sd+card+64+gb&qid=1565691023&s=computers&sr=1-2 | 11
|  | Keyboard |  | 1 | https://www.reichelt.de/funk-tastatur-usb-schwarz-touchpad-logitech-k400-p162726.html?&trstct=pos_0 | 27
|  | USB hub |  | 1 | https://www.amazon.de/Sabrent-USB-HUB-einzelnen-Schalter/dp/B00JX1ZS5O/ref=sr_1_15?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=usb+hub+power&qid=1573648723&sr=8-15 | 13.5
38 | ASSEMBLY_CUBE_Z-stage_microscrew |  |  |  |  | 55.81
|  | ASSEMBLY_CUBE_Base |  | 2 |  | 0
| 55.81 | 20_Cube_Insert_Z-Focus_single_v3 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/v3/CAD/RAW/STL/UC2_20_Cube_Insert_Z-Focus_single_v3.stl | 0.8
| The linearflexure mechanism of the Z-stage is used for precise focussing of the microscope objective. Mechanical only. | 20_Cube_Insert_Lens_holder_RMS_63x_v3 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/v3/CAD/RAW/STL/UC2_20_Cube_Insert_Lens_holder_RMS_63x_v3.stl | 0.3
|  | 30_IM_LED_holder_v3 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/v3/CAD/RAW/STL/UC2_20_IM_LED_holder_v3.stl | 0.2 | 1
|  | Screws M3x12 | 0 | 2 | https://eshop.wuerth.de/Zylinderschraube-mit-Innensechskant-SHR-ZYL-ISO4762-88-IS25-A2K-M3X12/00843%20%2012.sku/de/DE/EUR/ | 0.6
|  | 10_Cube_1x1_IM | 0 | 2 |  | 0
|  | 100x objective | 0 | 1 | https://de.aliexpress.com/item/32991491109.html?spm=a2g0o.productlist.0.0.58286ab46HTNAr&algo_pvid=b2f1e0a7-fbf6-417b-9e4c-26724f8d46a2&algo_expid=b2f1e0a7-fbf6-417b-9e4c-26724f8d46a2-7&btsid=0b0a187916115810924814442e4f11&ws_ab_test=searchweb0_0,searchweb201602_,searchweb201603_ | 22.75
|  | Micrometer screw | 0 | 1 | https://de.rs-online.com/web/p/mikrometer/7857878/ | 30.56

## Liste Fischer
Obtische Bauteile
Objekt | Anzahl | Link | Beschreibung | Kosten | Bemerkung
Objektiv 10x | 1 | https://de.aliexpress.com/item/32947647522.html?spm=a2g0x.search0104.3.54.6cf57a4c3DwsTO&transAbTest=ae803_3&ws_ab_test=searchweb0_0%2Csearchweb201602_6_10065_10130_10068_10890_10547_319_10546_317_10548_10545_10696_10084_453_454_10083_10618_10307_537_536_10902_10059_10884_10887_321_322_10103%2Csearchweb201603_6%2CppcSwitch_0&algo_pvid=06d972be-b176-4446-8665-56d9e61a8d2c&algo_expid=06d972be-b176-4446-8665-56d9e61a8d2c-7 | Achromatisches Objektiv 10x | 17.84
Objektiv 4X | 1 | https://de.aliexpress.com/item/32947647522.html?spm=a2g0x.search0104.3.54.6cf57a4c3DwsTO&transAbTest=ae803_3&ws_ab_test=searchweb0_0%2Csearchweb201602_6_10065_10130_10068_10890_10547_319_10546_317_10548_10545_10696_10084_453_454_10083_10618_10307_537_536_10902_10059_10884_10887_321_322_10103%2Csearchweb201603_6%2CppcSwitch_0&algo_pvid=06d972be-b176-4446-8665-56d9e61a8d2c&algo_expid=06d972be-b176-4446-8665-56d9e61a8d2c-7 | Achromatisches Objektiv 4x | 12.83
Objektiv 100X | 1 | https://de.aliexpress.com/item/32947647522.html?spm=a2g0x.search0104.3.54.6cf57a4c3DwsTO&transAbTest=ae803_3&ws_ab_test=searchweb0_0%2Csearchweb201602_6_10065_10130_10068_10890_10547_319_10546_317_10548_10545_10696_10084_453_454_10083_10618_10307_537_536_10902_10059_10884_10887_321_322_10103%2Csearchweb201603_6%2CppcSwitch_0&algo_pvid=06d972be-b176-4446-8665-56d9e61a8d2c&algo_expid=06d972be-b176-4446-8665-56d9e61a8d2c-7 | Achromatisches Objektiv 100x | 30.14
Okular 20x | 2 | https://www.conrad.de/de/p/kern-optics-ozb-a4104-ozb-a4104-mikroskop-okular-20-x-passend-fuer-marke-mikroskope-kern-1320921.html | Mikroskop Okular | 44.86
Spiegel | 4 | https://de.aliexpress.com/item/32759696170.html?gatewayAdapt=glo2deu&spm=2114.search0104.3.2.167975efSJYug2&ws_ab_test=searchweb0_0,searchweb201602_2_10065_10068_10130_5734615_10890_5730315_10547_10546_319_10548_317_5734813_10545_10696_5734713_10924_453_10084_454_10083_10618_10920_5729215_10921_10922_10307_537_536_10059_10884_10887_10928_100031_321_322_10103_5734515,searchweb201603_51,ppcSwitch_0&algo_expid=5f5516e3-337b-4ea3-9625-bb82c9a6c350-0&algo_pvid=5f5516e3-337b-4ea3-9625-bb82c9a6c350 | Spiegel (als Ersatz für Thorlabs-Spiegel), 2x3er Packungen | 20.88 | Lange Lieferzeiten + mir nicht bekannter Hersteller; Auf Github vorgeschlagene Alternative zu Thorlabs Spiegel, Keine Garantie für Eignung
Linse 1 Beamexpander | 1 | https://pgi-shop.de/en/achromat-2-lens-oe-18-mm-f-26.5-mm/ | Achromatische Linse (für beamexpander) | 6.5
Linse 2 Beamexpander | 1 | https://www.amazon.de/BisLinks%C2%AE-Facing-Kamera-Ersatz-Repair/dp/B01M9K9RVN/ref=sr_1_10?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=lg+g3+camera&qid=1565005739&s=gateway&sr=8-10 | Ersatz Kamera für Handy | 6.99 | Aus dieser wird die Linse entnommen, leider fand ich keine Linse ohne Kamera
50R/50T Beamsplitter | 1 | https://www.knightoptical.com/stock/default/plate-beamsplitter-standard-range-50-50-visible-450-700nm-25mmdiax1mmthk.html | 50-50 Strahlenteiler | 28.58
Emissions-Sperrfilter | 1 | https://www.knightoptical.com/stock/default/catalog/product/view/id/810/s/colour-glass-filter-25mmdia-645nm-long-pass/category/77/ | Longpass-Colour Glass Filter | 20.96
Tube Lens | 2 | https://pgi-shop.de/en/achromat-2-linser-oe-40-mm-f-156-4-mm/ | Achromatische Doppellinse (d= 40 mm; f=156,4 mm) zum Fokussieren des Bildes | 19.5
Kosten Optische Bauteile gesamt |  |  |  | 209.08
Mechanische/Elektronische Bauteile
Objekt | Anzahl | Link | Beschreibung | Kosten | Bemerkung
Druckmaterial | 1 | https://www.prusa3d.com/de/produkt/prusament-pla-prusa-galaxy-black-1kg/ | PLA für 3D-Druck | 29.99 | Es wurde aufgerundet 600g Material verbraucht
Ballmagnete | 100 | https://www.magnetmax.de/Neodym-Kugelmagnete/Magnetkugel-Kugelmagnet-O-5-0-mm-Neodym-vernickelt-N40-haelt-400-g::158.html | Kugelmagnete (400g Tragekraft) für Baseplate/Cube | 40
Zylinderschrauben M3x8 | 100 | https://www.schraubenking.at/M3-x-8mm-Zylinderschrauben-DIN-912-Stahl-verzinkt-88-P000172 | Zylinderschrauben für Allgemeine Befestigung/Justierung verschiedener Bauteile | 1.91
Zylinderschrauben M3x12 | 200 | https://www.schraubenking.at/M3-x-12mm-Zylinderschrauben-DIN-912-Stahl-verzinkt-88-P003601 | Zylinderschrauben für Allgemeine Befestigung/Justierung verschiedener Bauteile | 7.46
Zylinderschrauben M3x18 | 100 | https://www.schraubenking.at/M3-x-18mm-Zylinderschrauben-DIN-912-Stahl-verzinkt-88-P000174 | Zylinderschrauben für Allgemeine Befestigung/Justierung verschiedener Bauteile | 2.51
Zylinderschrauben M3X30 | 100 | https://www.schraubenking.at/M3-x-30mm-Zylinderschrauben-DIN-912-Stahl-verzinkt-88-P000176 | Zylinderschrauben für Allgemeine Befestigung/Justierung Z-Stage | 5.45
Wurmschrauben M5x8 | 200 | https://www.schraubenking.at/M5-x-10mm-Gewindestift-Kegelkuppe-DIN913-schwarz-P005052 | Wurmschrauben für Besfestigung der Base-Cubes an die Baseplate | 6.08
Mutter M3 | 100 | https://www.schraubenking.at/M3-Sechskantmuttern-DIN-934-Edelstahl-A2-P000447 | M3-Mutter für Allgemeine Befestigung/Justierung verschiedener Bauteile | 7.9 | Mutter und Schrauben von Selben Hersteller, gesammte Versandkosten bei Muttern in Preis inkludiert
Laser (638nm, 300mW) | 1 | https://www.laserlands.net/638nm-laser-tube-300mw-laser-head-fat-beam-red-laser-head.html | Fat Beam Exitationslaser | 26.46 | Erübrigung des Beamexpander
Raspberry Pi Kamera Modul | 1 | https://www.amazon.de/Raspberry-Pi-v2-1-1080P-Kamera-Modul/dp/B01ER2SMHY/ref=sr_1_4?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&crid=1LUZK9XHFS5CX&keywords=raspberry+pi+camera+v2.1&qid=1565008837&s=gateway&sprefix=raspberry+pi+camera+%2Caps%2C163&sr=8-4 | Vorgeschlagene Kamera zur Detektion | 35.2 | Für Ausführung mit Mikro-Kamera als Detektor
Steppermotor | 1 | https://www.reichelt.de/entwicklerboards-schrittmotor-inkl-steuerung-uln2003-debo-moto1-p192146.html | Für Motorisierte Z-Stage | 5.7
ESP32 | 2 | https://www.amazon.de/AZDelivery-NodeMCU-Development-Nachfolgermodell-ESP8266/dp/B074RGW2VQ/ref=sr_1_3?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=esp32&qid=1565008313&s=gateway&sr=8-3 | Wifi-Modul für Datenübertragung | 45.98 | Für Motorisierte Z-Stage
Female-Female Jumper Wire | 1 | https://www.amazon.de/-/en/AZDelivery-Jumper-Arduino-Raspberry-Breadboard/dp/B07KYHBVR7/ref=pd_bxgy_3/259-4334118-3709357?_encoding=UTF8&pd_rd_i=B07KFMSW7H&pd_rd_r=81afa8b5-0542-49e3-9cba-8dae3b0a116f&pd_rd_w=nOtLQ&pd_rd_wg=YVuQX&pf_rd_p=334c2d1b-2e55-4bd9-b8d2-dcecf26eb7db&pf_rd_r=K64KK4P3QHQTPFHPYNN6&refRID=K64KK4P3QHQTPFHPYNN6&th=1 | Female-Female Kabel kompatibel mit Raspberry Pi | 3.99 | 40 Stk. Paket
USB- micro USB Kabel | 1 | https://www.amazon.de/-/en/Packs-1m-Micro-USB-Cable/dp/B09983XPM9/ref=sr_1_4?crid=2TDRROLBJCT69&keywords=Micro-USB-Kabel&qid=1658626756&sprefix=micro+usb+kabel%2Caps%2C95&sr=8-4 | Kabel für Stromversorgung des ESP32 | 7.04
USB-hub mit Schaltern | 1 | https://www.amazon.de/Sabrent-USB-HUB-einzelnen-Schalter/dp/B00JX1ZS5O/ref=sr_1_15?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=usb%2Bhub%2Bpower&qid=1573648723&sr=8-15&th=1 | USB-3 Teiler mit An/Aus Schaltern | 16.13
Speicherkarte | 1 | https://www.amazon.de/SanDisk-SDSQUAR-064G-GN6MA-microSDXC-Speicherkarte-Adapter/dp/B073JYVKNX/ref=sr_1_2?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=sd%2Bcard%2B64%2Bgb&qid=1565691023&s=computers&sr=1-2&th=1 | microSDXC 64 Gb | 15.31
Raspberry Pi Netzteil | 1 | https://www.reichelt.de/Warenkorb/5/index.html?ACTION=5&LA=3&nbc=1 | 5,1 V 3,0 A USB-Type c | 8.65 | zzgl. Lieferkosten
Raspberry Pi 4B | 1 | https://www.reichelt.de/raspberry-pi-4-b-4x-1-5-ghz-1-gb-ram-wlan-bt-rasp-pi-4-b-1gb-p259874.html?&trstct=vrt_pdn&nbc=1 | 1 GB RAM, 4 x 1,5 Ghz | 44.6 | zzgl. Lieferkosten
Raspberry Pi Display | 1 | https://www.reichelt.de/raspberry-pi-shield-display-lcd-touch-7-800x480-pixel-raspberry-pi-7td-p159859.html? |  | 77.4 | zzgl. Lieferkosten
Raspberry Pi Gehäuse | 1 | https://www.reichelt.de/gehaeuse-fuer-raspberry-pi-4-7-touch-display-rpi4-case-lcd7bk-p268976.html?&trstct=pol_57 | Case und Displayschutz | 14.94 | Lieferkosten für Reichelt-Komponenten mitbezogen
Netzteil Laser | 1 | https://www.amazon.de/dp/B09KGJJPXG/ref=cm_sw_r_apa_i_T7A6C3FD3FVHT6RTH2ZS_1 | Netzteil mit Adapter | 8.05
Kosten Mechanische/Elektronische Bauteile gesamt |  |  |  | 410.75
Kosten Material gesamt: |  |  |  | 619.83

## Druckaufwand
Objekt | Druckdauer für einzelnes Objekt | Filamentverbrauch pro Objekt [g] | Anzahl gedruckt | Durchgeführt | Materialverbrauch |  | Drucker | Filament
Baseplate | 43 min | 5.76 | 20 | 2022-05-24 | 115.2 | g | Prusa I3 Mk3 | PLA-NX2 1,75mm (schwarz) von Extrudr
Cube Lid + Body | 232 min | 20.25 | 14 | 2022-05-24 | 283.5 | g
Raspberry Cam | 43 min | 7.11 | 1 | 2022-06-02 | 7.11 | g
Mirrorparts | 141 min | 20.54 | 8 | 2022-06-07 | 164.32 | g
Tube-Lens Halterung | 73 min | 9.8 | 4 | 2022-06-07 | 39.2 | g
Smartphone Holder | 127 min | 21.31 | 2 | 2022-06-07 | 42.62 | g
Beamexpander | 70 min | 13.85 | 2 | 2022-06-14 | 27.7 | g
Beamsplitter | 170 min | 27.63 | 2 | 2022-06-20 | 55.26 | g
Z-Stage | 646 min | 88.48 | 2 | 2022-06-20 | 176.96 | g
Laser-Holder | 370 min | 57.39 | 2 | 2022-07-20 | 114.78 | g
Filter-Halter | 41 min | 9.11 | 2 | 2022-07-20 | 18.22 | g
Gesamt |  |  |  |  | 1044.87 | g
Liste entnommener Schrauben |  |  | Liste entnommener Muttern
M3x8 | 0 |  | M3 | 29
M3x12 | 86 |  | M2 | 4
M2x12 | 4
M3x20 | 3
| Farbe | Pin Driverboard | Pin ESP32
Pinbesetzung Steppermotor | Grau | + | V5
| Braun | - | GND
| Blau | IN4 | G13
| Weiß | IN3 | G12
| Schwarz | IN2 | G14
| Violett | IN1 | G27